# Highlights

Stream-by-stream model reconciles 2.73 to 3.65 to 10.68 kWh/m3 exactly.

Near-ZLD crystallization more than triples total system energy demand.

Corrected market-volume source shows Mg(OH)2 plant share is ~6.2%.

Market-realistic mineral credit yields net LCOW of $0.42/m3 vs $0.76.

Full open-source code and data are archived for exact reproducibility.